ITEM #: 5 QUART MIXER  
Quantity: One (1)  
Manufacturer: Globe  
Model No.: SP05  
Pertinent Data: ---  
Utilities Req’d.: 120V/1PH, 4.0A

See plans for location and placement of item with reference to adjoining equipment.   
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Provide with heavy-duty cord and plug, coordinate NEMA configuration with Electrical Contractor.  
3. Provide one each of the following attachments:  
a. 5 Quart Stainless Steel Bowl.  
b. Flat Beater (aluminum).  
c. Stainless Steel Wire Whip.  
d. Spiral Dough Hook (Stainless Steel).  
4. Coordinate installation onto Item #, Pastry Counter.  
5. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.