ITEM #: 60 QT. MIXER  
Quantity: One (1)  
Manufacturer: Globe  
Model No.: SP60  
Pertinent Data: ---  
Utilities Req’d: 208V/3PH, 9.0A

See plans for location and placement of item with reference to adjoining equipment.   
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Provide with heavy-duty cord, coordinate hard wire installation with Electrical Contractor.  
3. Provide one each of the following attachments:  
a. Aluminum Flat Beater.  
b. Stainless Steel Wire Whip.  
c. Aluminum Spiral Dough Hook.  
d. Bowl Truck.  
4. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.