ITEM #: BAIN MARIE HEATER  
Quantity: One (1)  
Manufacturer: Hatco  
Model No.: FR3B  
Pertinent Data: ---  
Utilities Req’d: 208V/3PH, 8.3A; 3/4” IW  
  
See plans for location and placement of item with reference to adjoining equipment.   
Fabricate and set in place per plans, details, and the following:  
1. Set in place in location as shown on drawings.  
2. Provide stainless steel body and base.  
3. Provide low water cutoff.  
4. Coordinate installation on Item #, Preparation Table with Bain Marie.  
5. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.