ITEM #: BEER DISPENSING TOWER  
Quantity: One (1)  
Manufacturer: Perlick  
Model No.: 4006-4B  
Pertinent Data: ---  
Utilities Req’d: ---

See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Provide 4 Faucets on front.  
4. Provide faucet locks.  
5. Coordinate installation onto Item #, Bar Top and Die.  
6. Connect unit to Item #, Beer System.  
7. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.