ITEM #: BLENDER WITH DOME  
Quantity: One (1)  
Manufacturer: Vitamix  
Model No.: 36019  
Pertinent Data: ---  
Utilities Req’d: 120V/1PH; 15.0A (Each)  
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Coordinate installation onto Item #, Café Millwork.  
3. Provide 48 oz. container with Advance blade and lid.  
4. Provide unbreakable polycarbonate sound enclosure.  
5. Provide variable speed control.  
6. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.