ITEM #: COOLER STORAGE SHELVING  
Quantity: One (1)  
Manufacturer: New Age  
Model No.: 1062-MS-CL-B-PP-A  
Pertinent Data: 4 Tier  
Utilities Req’d: ---

See plans for location and placement of item with reference to adjoining equipment.   
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Verify room size.  
3. Provide unit with four (4) heavy-duty, polyurethane, non-marking casters, two (2) with brakes.  
4. Provide a prison package with tamper proof screws.  
5. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.