ITEM #: DIPPERWELL  
Quantity: One (1)  
Manufacturer: Fisher  
Model No.: 3041   
Pertinent Data: ---  
Utilities Req’d: ---  
  
See plans for location and placement of item with reference to adjoining equipment.   
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Provide a stainless steel dipper well faucet.  
4. Provide a stainless steel sink pan with a removable inner shell.  
5. Coordinate installation into Item #, Beverage Counter.  
6. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.