ITEM #: DISPENSING PIPE TOWER  
Quantity: One (1)  
Manufacturer: Perlick  
Model No.: 4065-12  
Pertinent Data: From #\_\_\_\_  
Utilities Req’d: ---  
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Provide locking faucet handles.  
4. Coordinate installation with Item #\_\_\_\_\_\_, Beer System.  
5. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.