ITEM #: DISPLAY COOLER SHELVING  
Quantity: One (1)  
Manufacturer: Anthony  
Model No.: GFS Roll-A-Way  
Pertinent Data: ---  
Utilities Req’d: ---  
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Provide fully adjustable shelves, lane dividers and front product stops.  
4. Unit uses 86” posts with shelf depths of 42” 48” 60” 72”.  
5. Provide unit with Glide Sheet, Heavy-Duty Rollers.  
6. Equip unit with a Drip Pan and floor guard.  
7. Provide unit on casters.  
8. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.