ITEM # : DRAIN BOARD  
Quantity: One (1)  
Manufacturer: Custom Fabrication  
Model No.: Stainless Steel  
Pertinent Data: See Plans, Drawing #FS\_\_\_\_\_  
Utilities Req'd: 1-1/2" IW  
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer's standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Unit shall have all stainless steel construction.   
3. Unit shall be mounted between Item #\_\_\_\_\_ and Item #  
4. Unit shall be constructed of a corrugated work surface.  
5. Provide shop drawings for approval prior to fabrication.  
6. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.