ITEM # : DRIP TROUGH WITH RINSER  
Quantity: One (1)  
Manufacturer: Perlick  
Model No.: C18660A-GRC  
Pertinent Data: ---  
Utilities Req’d: 1/2" CW; 1/2" IW

See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Provide stainless steel finish.  
4. Provide glass rinser as shown.  
5. Recess unit into Item #\_\_\_\_\_, Back Bar Counter.  
6. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.