ITEM #: DROP-IN HAND SINK WITH SOAP AND TOWEL DISPENSER   
Quantity: One (1)  
Manufacturer: Advance Tabco  
Model No.: 7-PS-42  
Pertinent Data:   
Utilities Req’d: 1/2” CW, 1/2” HW, 1-1/2” DW

See plans for location and placement of item with reference to adjoining equipment.   
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Provide with gooseneck faucet.  
3. Provide with c fold towel dispenser.  
4. Provide unit with p trap and tail piece.  
5. Provide unit with wrist blade.  
6. Coordinate installation into Item #, Back Counter as shown on drawings.  
7. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.