ITEM #: FISH SINK WITH PERFORATED BOTTOM  
Quantity: One (1)  
Manufacturer: Custom Fabrication  
Model No.: Stainless Steel  
Pertinent Data: See Plans, Drawing #FS  
Utilities Req’d: 1-1/2” IW

See plans for location and placement of item with reference to adjoining equipment.   
Fabricate and set in place per plans, details, and the following:  
1. Standard fabrication Drawing #FSXX.2, Detail #15.  
2. Set in place in location as shown on drawings.  
3. Size and configuration as shown on drawings.  
4. Provide one (1) 14 gauge stainless steel rotary waste lever angle brackets.  
5. From provide one (1) 48” x 22” x 12” deep sink with rotary waste and connected rear overflow.  
6. Sink bottom shall have a 1" high false perforated bottom.  
7. Provide support tabs and pins for recessed cutting board, over sink.  
8. Provide 1/2 thick polyurethane cutting board to cover sink.  
9. Coordinate fabrication and installation with Item #\_\_, \_\_\_\_\_\_\_.  
10. Fabricate and install per NSF Standard 2, complete drawings, schedules, elevations, and details.   
11. Provide shop drawings for approval prior to fabrication.  
12. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.