ITEM #: HAND SINK WITH VENDOR SUPPLIED SOAP AND TOWEL DISPENSER  
Quantity: One (1)  
Manufacturer: Advance Tabco  
Model No.: 7-PS-61   
Pertinent Data: Electronic Faucet  
Utilities Req’d: 1/2” CW, 1/2” HW, 1-1/2” DW

See plans for location and placement of item with reference to adjoining equipment.   
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Provide with gooseneck faucet.  
3. Provide unit with p trap and tail piece.  
4. Provide battery-operated faucet.  
5. Provide 6- Volt battery to operate electronic sensor.  
6. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.