ITEM #: HOT BOX TRANSPORT   
Quantity: Four (4)  
Manufacturer: Sico  
Model No.: 3909-100  
Pertinent Data: ---  
Utilities Req’d: 120V/1PH; 15.0A  
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Provide unit 79-1/4" x 40" x 20-1/2" deep.  
4. Provide all stainless steel construction with rivets.  
5. Unit shall hold six (6) Item #, Room Service Food Warmer.  
6. Provide with heavy-duty cord and plug, coordinate NEMA configuration with Electrical Contractor.  
7. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.