ITEM # : HOT WATER DISPENSER  
Quantity: One (1)  
Manufacturer: Bunn  
Model No.: 43600.0002  
Pertinent Data: ---  
Utilities Req’d:

See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Provide unit with heavy duty cord, coordinate with electrical contractor.  
3. Provide unit with manual lever drain.  
4. Provide unit with EQ-11-TL water filtration system.  
5. Coordinate installation onto Item #\_\_\_\_\_.  
6. Must meet all applicable governmental, and local laws, rules, regulations, and codes.