ITEM # : HOT WATER DISPENSER  
Quantity: One (1)  
Manufacturer: Bunn  
Model No.: H5X Element SST (43600.0002)  
Pertinent Data: ---  
Utilities Req’d:   
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Provide unit with heavy duty cord, coordinate with electrical contractor.  
3. Provide unit with programmable “Energy Saver Mode” reduces operating cost during idle periods.  
4. Provide unit with LED display provides simple temperature adjustment.  
5. Coordinate installation onto Item #\_\_\_\_\_.  
6. Must meet all applicable governmental, and local laws, rules, regulations, and codes.