ITEM # HOT WATER DISPENSER  
Quantity: One (1)  
Manufacturer: Bunn  
Model No.: HW2 SST (02500.0001)  
Pertinent Data: ----  
Utilities Req’d: 120V/1PH 15.0A; 1/4” CW

See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Provide unit with heavy-duty cord, coordinate with electrical contractor.  
3. Provide unit with manual lever drain.  
4. Provide unit with EQ-11-TL water filtration system.  
5. Coordinate installation onto Item #, Room Service Set-Up Counter with Sink.  
6. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.