ITEM #: ICE AND WATER DISPENSER  
Quantity: Two (2)  
Manufacturer: Scotsman  
Model No.: HID312AS  
Pertinent Data: Self Contained  
Utilities Req'd: 220V/50HZ/1PH; 15.0A; 3/8” CW; 3/8” IW  
  
See plans for location and placement of item with reference to adjoining equipment.  
Fabricate and set in place per plans, details, and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Provide durable stainless steel evaporator and exterior panels.  
4. Provide larger sink opening and dispensing area.  
5. Provide removable front panels allow ease of access and service to all key internal components.  
6. Provide chewable, slow-melting nugget ice that allows for more reliable dispensing.  
7. Must meet all applicable governmental, and local laws, rules, regulations, and codes.