ITEM #: ICE AND WATER DISPENSER  
Quantity: One (1)  
Manufacturer: Scotsman  
Model No.: HID525W-1  
Pertinent Data: Water Cooled, Self-Contained  
Utilities Req’d: 120V/1PH; 15.0A; 3/8" CW; 3/4" IW; 3/8" Chilled Water Supply,   
 1/2" Chilled Water Return  
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Coordinate with Plumbing Contractor on the connection between ice maker and Item #\_\_\_\_\_, Water Filtration System.  
4. Provide touch free actuation for convenient one handed operation.  
5. Provide easily removable plastic chute.  
6. Coordinate installation onto Item #\_\_\_\_\_, Work Counter.  
7. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.