ITEM #: ICE AND WATER DISPENSER  
Quantity: One (1)  
Manufacturer: Scotsman  
Model No.: HID540A-6  
Pertinent Data: Self Contained, Air Cooled  
Utilities Req’d: 208V/1PH;3.8A; 3/8” CW; 3/4” IW

See plans for location and placement of item with reference to adjoining equipment.   
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Provide durable stainless steel evaporator and exterior panels.  
4. Unit shall be equipped with antimicrobial AquaArmor with AgIONJ is molded into key components.  
5. Equip unit with intuitive LED diagnostic lights reduce service time. Unit specific QR code for quick access to service manuals and warranty history.  
6. Coordinate installation onto Item #\_\_\_\_\_, Beverage and Condiment Counter.  
7. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.  
ITEM #: ICE AND WATER STATION  
Quantity: One (1)  
Manufacturer: Advance Tabco  
Model No.: D24WSIBL  
Pertinent Data: ---  
Utilities Req’d: 1/2” CW, (2) 1” IW

See plans for location and placement of item with reference to adjoining equipment.   
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Unit shall be equipped with a 12” deep insulated ice bin.  
4. Equip unit with a removable grate covering the drip pan.  
5. Provide a rubber thermal breaker to reduce condensation.  
6. Unit shall be supplied with stainless steel sliding cover.  
7. Equip the unit with a K54 filler faucet with an acrylic lever arm.  
8. Coordinate installation into Item #, Back Bar Counter with Sink.  
9. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.