ITEM #: ICE BIN  
Quantity: One (1)  
Manufacturer: Hoshizaki  
Model No.: BD-600SF  
Pertinent Data: 600 Pounds AHRI Capacity  
Utilities Req’d: 3/4" IW

See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Coordinate opening in top of bin with Item #\_\_\_\_\_\_\_, Ice Machine.  
3. Unit shall be all stainless steel with 6" stainless steel legs.  
4. Provide all trims required for proper installation.  
5. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.