ITEM #: ICE MACHINE  
Quantity: One (1)  
Manufacturer: Hoshizaki  
Model No.: IM-200BAA  
Pertinent Data: Air Cooled, Self-Contained  
Utilities Req’d: 120V/1PH; 7.6A; 1/2" CW; 3/4" IW

See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Provide up to 200 pounds of ice production per 24 hours.  
4. Provide built-in storage capacity of 75 pounds.  
5. Provide durable stainless steel exterior.  
6. Provide EverCheck alert system.  
7. Provide heavy duty cord and plug, coordinate NEMA configuration with Electrical Contractor.  
8. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.