ITEM #: ICE MACHINE  
Quantity: One (1)  
Manufacturer: Manitowoc  
Model No.: IYP0500A (IDT0620A)  
Pertinent Data: Self Contained  
Utilities Req'd: 208V/1PH, 5.9A; 3/8” CW, 3/4” IW  
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer's standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Unit shall be all stainless steel construction.  
3. Coordinate with Plumbing Contractor on the connection between ice maker and Item #\_\_\_\_, Water Filtration System.  
4. Install ice maker on top of Item #\_\_\_\_, Ice Bin, coordinate proper installation.  
5. Ice maker shall produce dice cubes 7/8" by 7/8" by 7/8" thick.  
7. Provide ice machine with all necessary accessories to fit onto Item #\_\_\_\_, Ice Bin flawlessly.  
8. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.