ITEM #: ICE MACHINE  
Quantity: One (1)  
Manufacturer: Scotsman  
Model No.: NS0422W-1  
Pertinent Data: 450 Pounds, Water Cooled, Nugget Ice  
Utilities Req’d: 120V/1PH; 12.1A; 3/8" CW; 3/4" IW; 3/8” Chilled Water In, 1/2” Chilled Water Returned  
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Unit shall be all stainless steel construction.  
3. Coordinate with Plumbing Contractor on the connection between ice maker and Item #\_\_\_\_, Water Filtration System.  
4. Install ice maker on top of Item #\_\_\_\_\_\_, Soda and Ice Dispenser, coordinate proper installation.