ITEM #: ICED TEA BREWER  
Quantity: One (1)  
Manufacturer: Bunn  
Model No.: TB3Q (36700.0059)  
Pertinent Data: ----  
Utilities Req’d: 120V/1PH 14.4A; 1/4” CW

See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Equip unit with Quickbrew which has a shorter brewing cycle.  
3. Unit shall brew directly into any style portable server.  
4. Provide unit with a SplashGard® funnel which deflects hot liquids away from the hand.  
5. Unit shall have the ability to Brew 90 oz concentrate before dilution blending.  
6. Equip unit with a TD?? Iced Tea dispenser.  
7. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.