ITEM #: INDUCTION CHARGER  
Quantity: One (1)  
Manufacturer: Aladdin  
Model No.: IND2503  
Pertinent Data: ---  
Utilities Req’d: 208V/1PH, 14.0A  
  
See plans for location and placement of item with reference to adjoining equipment.   
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Provide audible alert when base is ready.  
4. Provide digital LED display.  
5. Unit shall have 19 second heating cycle.  
6. Provide solid state electronic controls.  
7. Coordinate installation onto Item #???.  
8. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.