ITEM #: MEAL TRAY DELIVERY CART  
Quantity: One (1)  
Manufacturer: Aladdin  
Model No.: MD10SLPRS8B4-55  
Pertinent Data: 10 Tray Capacity  
Utilities Req’d: ---  
  
See plans for location and placement of item with reference to adjoining equipment.   
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Provide a 270° door swing with positive latching in open or closed position.  
4. Unit shall be constructed with 18-gauge stainless steel side vented.  
5. Equip unit with door that is fully insulated double sided pocket door constructed of 20-gauge stainless steel.  
6. Provide 5-1/2” tray spacing.  
7. Unit shall be equipped with a 1” diameter stainless steel push handles.  
8. Equip unit with a non-marking full perimeter bumper.  
9. Provide four (4) 6” balloon casters two (2) swivel with brakes, two (2) fixed.  
10. Coordinate installation with Item #???.  
11. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.