1. Set in place in location as shown on drawings.  
2. Provide heavy-duty cord and plug. Coordinate NEMA configuration with the Electrical Contractor.  
3. Provide oven interface and programming software supports 20 languages.  
4. Equip unit with Smart USB connectivity standard.  
5. Unit shall store up to 100 programmable menu items.  
6. Provide 11 power levels and 4 cooking stages for cooking flexibility.   
7. Unit shall have multiple quantity function and automatically calculates cooking times for multiple portions.  
8. Provide automatic Voltage Sensor which adjusts to the power supply.  
9. Equip unit with a see-through door and lighted interior for monitoring without opening the door.  
10. Unit shall have ample 1 cubic ft. (28 liter) capacity to accommodates two standard 4” deep half-sized pans.  
11. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.   
  
  
ITEM #: MICROWAVE OVEN  
Quantity: One (1)  
Manufacturer: Amana  
Model No.: RMS10TSA  
Pertinent Data: ---  
Utilities Req’d: 120V/1PH; 9.6A  
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Provide heavy-duty cord and plug. Coordinate NEMA configuration with the Electrical Contractor.  
3. Unit shall store up to 20 programmable menu items.  
4. Provide 5 power levels and 4 cooking stages for cooking flexibility.   
5. Unit shall have multiple quantity function and automatically calculates cooking times for multiple portions.  
6. Equip unit with a see-through door and lighted interior for monitoring without opening the door.  
7. Unit shall have ample 0.8 cubic ft. (23 liter) capacity.  
8. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.   
  
ITEM #: MICROWAVE OVEN  
Quantity: One (1)  
Manufacturer: Panasonic  
Model No.: NE17521  
Pertinent Data: ---  
Utilities Req’d: 208V/1PH, 13.6A

See plans for location and placement of item with reference to adjoining equipment.   
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Provide heavy-duty cord and plug. Coordinate NEMA configuration with the Electrical Contractor.  
3. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.