ITEM #: MODULAR GRIDDLE  
Quantity: One (1)  
Manufacturer: Imperial  
Model No.: IGMA-3628  
Pertinent Data: ---  
Utilities Req’d: 3/4” Gas @ 90,000 BTU, 5” WC  
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Coordinate installation of Griddle onto Item #\_\_\_\_\_\_\_, Refrigerated Equipment Stand.