ITEM #: PLATE DISPENSER  
Quantity: One (1)  
Manufacturer: Aladdin  
Model No.: PD2WNH  
Pertinent Data: ---  
Utilities Req’d: ---

See plans for location and placement of item with reference to adjoining equipment.   
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Provide a two column, non-heated plate dispenser.  
4. Unit shall have durable all stainless steel construction with reinforcement in stress areas.  
5. Equip unit with stainless steel internal plate guards.  
6. Provide stainless steel dispensing mechanism which are self-leveling and individually field adjustable.  
7. Unit shall be equipped with a large ergonomic push handle.  
8. Equip unit with four non-marking plastic corner bumpers.  
9. Provide four (4) 5” swivel casters, two (2) with brakes.  
10. Coordinate installation with Item #???.  
11. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.