ITEM #: PULPER SYSTEM  
Quantity: One (1)  
Manufacturer: Somat  
Model No.: SP-75S-UDT  
Pertinent Data: ---  
Utilities Req’d: 208V/3PH; 20.0A; 1/2" HW, 1/2" CW; 1-1/2" IW; 2" Slurry Inlet, 2" Slurry Outlet

See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Provide 30" diameter, 39.5" high polished stainless steel tank.  
4. Provide unit with water flushed feed tray, hinged lid with limit switch, and 3/8" thick stainless steel slurry chamber.  
5. Provide unit with a 7-1/2 HP TEFC direct drive motor, and internal junk box and cutting mechanism.  
6. Provide stainless steel HyPoint cutting mechanism, which consists of one-piece security ring with 3 stationary, replaceable top cutters and impeller with 2 replaceable rotating cutters.  
7. Provide unit with Som-A-Trol electric control panel with a NEMA 4 stainless steel enclosure.  
8. Provide unit with a capacity of 1250 pounds per hour of food service waste mix.  
9. Provide shop drawings for approval prior to fabrication.  
10. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.