ITEM #: REACH-IN FREEZER  
Quantity: One (1)  
Manufacturer: True  
Model No.: STA2F-4HS-HC  
Pertinent Data: Double Section, Self-Contained  
Utilities Req'd: 120V/1PH; 9.4A

See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer's standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Provide four (4) 5" heavy duty swivel casters two (2) with brakes.  
3. Provide heavy duty cord and plug.  
4. Provide (4) stainless-steel half doors with locks, with left door hinged left, right door hinged right.  
5. Provide four (4) extra shelves.  
6. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.