ITEM #: REACH-IN REFRIGERATOR/FREEZER  
Quantity: One (1)  
Manufacturer: True Food Service Equipment  
Model No.: STR-1DTF-2HS  
Pertinent Data: Single Section, Self-Contained  
Utilities Req'd: 120V/1PH; 6.4A

See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer's standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Provide four (4) 6" heavy duty swivel casters two (2) with brakes.  
3. Provide heavy-duty cord and plug.  
4. Provide two (2) half-height solid doors, hinged left as shown on plans.  
5. Provide two (2) additional wire shelves.  
6. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.