ITEM #: REMOTE CONDENSER  
Quantity: One (1)  
Manufacturer: Scotsman  
Model No.: ERC111-1  
Pertinent Data: Air Cooled  
Utilities Req’d: 120V/1PH, 2.7A  
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Unit shall be all heavy gauge galvanized steel construction.  
3. Provide unit with a 75 foot line set.  
4. Provide thermally protected fan motors.  
5. Provide PVC coated steel fan guards.  
6. Provide direct drive fan blades.  
7. Provide standard Aero-Quip fittings.  
8. Coordinate installation and hook unit up to Item #\_\_\_\_\_\_\_, Ice Flaker.  
9. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.