ITEM #: REMOTE SANITATION STATION  
Quantity: One (1)  
Manufacturer: Spray Master Technologies   
Model No.: 3005213  
Pertinent Data: Recessed, See Drawing #FS Detail #12  
Utilities Req’d: 3/8” HW (From #)

See plans for location and placement of item with reference to adjoining equipment.   
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Provide recessed remote station as part of Item #, Central Sanitation Station.  
4. Provide factory installation.  
5. Provide high pressure hot water from Item #, Central Sanitation Station.  
6. Provide optional key lock cover.  
7. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.