ITEM #: ROLL-IN REFRIGERATOR  
Quantity: One (1)  
Manufacturer: Victory  
Model No.: RISA-1D-S1-XH-HC  
Pertinent Data: Single Section  
Utilities Req’d: 120V/1PH, 6.5A  
  
See plans for location and placement of item with reference to adjoining equipment.   
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Provide stainless steel door, front and sides on the exterior, and aluminum sides, wall and back on the interior.  
3. Provide with full door, hinged as shown on plan.  
4. Provide removable ramps.  
5. Provide two (2) year service warranty.  
6. Provide unit with USB Data Recorder.  
7. Provide LED Lighting.  
8. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.