ITEM #: ROOM SERVICE HOT BOX  
Quantity: Eighteen (18)  
Manufacturer: Sico  
Model No.: 4918700   
Pertinent Data: ---  
Utilities Req’d: 120V/1PH; 2.5A  
  
See plans for location and placement of item with reference to adjoining equipment.   
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Coordinate use with Item #, Room Service Tables.  
3. Unit shall be constructed of stainless steel.  
4. Unit shall have four (4) internal shelves to maximize space inside warmer.  
5. Unit shall have heavy-duty cord and plug, coordinate NEMA configuration with Electrical Contractor.  
6. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.