ITEM #: SCRAP COLLECTOR  
Quantity: One (1)  
Manufacturer: Salvajor  
Model No.: P-914  
Pertinent Data: See Plans, Drawing #FS  
Utilities Req’d: 208V/3PH, 3.2A; 3/4" to a 1/2" CW Connection, 3/4" to a 1/2" HW Connection,   
 2" DW  
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Coordinate installation with Item #, Power Wash Sink.  
3. Shall be integral part of Item #, Power Wash Sink.   
4. Provide unit with an MSS-LD control.   
5. Provide additional scrap baskets of high impact polymer.   
6. Provide pre-flushing and food waste collecting system with recirculating water.  
7. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.