ITEM #: SPREADER CABINET  
Quantity: One (1)  
Manufacturer: Jade  
Model No.: JTPR-18  
Pertinent Data: ---  
Utilities Req'd: ---   
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Provide 12" open cabinet front.  
4. Unit shall be 14-gauge stainless steel all welded body construction.  
5. Equip unit with stainless-steel top, front, sides and stub back.  
6. Supply unit with a stainless-steel 6" plate shelf.  
7. Provide four (4) 6" heavy duty, non-marking casters, front two (2) with brakes.  
8. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.   
  
ITEM #: SPREADER CABINET  
Quantity: One (1)  
Manufacturer: Jade  
Model No.: JTPR-6  
Pertinent Data: ---  
Utilities Req'd:   
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer's standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Provide 6" stainless-steel front.  
4. Unit shall be 14-gauge stainless steel all welded body construction.  
5. Equip unit with stainless-steel top, front, sides and stub back.  
6. Supply unit with a stainless-steel 6" plate shelf.  
7. Provide four (4) 6" heavy duty, non-marking casters, front two (2) with brakes.  
8. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.