ITEM #: THERMAL WALL  
Quantity: One (1)  
Manufacturer: Electrolux  
Model No.: 944661 (HESHSTOV61011)  
Pertinent Data: ---  
Utilities Req’d: ---

See plans for location and placement of item with reference to adjoining equipment.   
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Unit shall be 70mm thick.  
3. Unit shall protect the left side of Item #, Double Combi Oven.  
4. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.