ITEM #: TRAY DISPENSER  
Quantity: One (1)  
Manufacturer: Dinex  
Model No.: DXIDT1E1520  
Pertinent Data: ---  
Utilities Req’d: ---  
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Unit shall be made of all-welded stainless steel construction and accept trays on a stainless steel spring-loaded, self-leveling carriage.  
4. Provide carriage which features banks of tension springs on two sides. Spring tension for carriage are field adjustable without tools by hooking or unhooking springs to or from the carriage.  
5. Provide four (4) 5" extra-load casters, two (2) with brakes.  
6. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.