ITEM #: UNDER COUNTER REFRIGERATOR   
Quantity: One (1)  
Manufacturer: True Food Service Equipment  
Model No.: TUC-27-HC  
Pertinent Data: ---  
Utilities Req’d: 120V/1PH, 2.0A  
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Provide unit with 3-1/2" high, heavy duty, polyurethane, casters, two (2) with brakes.   
3. Coordinate installation under Item #  
4. Provide unit with heavy duty cord and plug, coordinate NEMA configuration with electrical contractor.  
5. Provide standard work surface height.  
6. Provide a solid door hinged right as shown on plans.  
7. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.