ITEM #: UNDERCOUNTER FREEZER  
Quantity: One (1)  
Manufacturer: True Food Service Equipment  
Model No.: TUC-27F-ADA-HC  
Pertinent Data: ---  
Utilities Req’d: 120V/1PH, 2.3A

See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Provide unit with low profile casters.   
3. Provide unit with work top.  
4. Coordinate installation under Item #  
5. Provide unit with heavy duty cord and plug, coordinate NEMA configuration with electrical contractor.  
6. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.