ITEM #: UNDERCOUNTER ICE MACHINE  
Quantity: One (1)  
Manufacturer: Hoshizaki  
Model No.: FM-120KE-HC  
Pertinent Data: 275 Pounds Capacity (Flake), Air Cooled  
Utilities Req’d:   
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Unit shall be all stainless steel construction.  
3. Coordinate with Plumbing Contractor on the connection between ice maker and Item #\_\_\_, Water Filtration System.  
4. Ice maker shall produce flake and nugget ice.  
5. Must meet all applicable governmental, and local laws, rules, regulations, and codes.