ITEM #: UNDERCOUNTER ICE MACHINE  
Quantity: One (1)  
Manufacturer: Scotsman  
Model No.: CU3030SA-32  
Pertinent Data: 300 Pounds, Air-Cooled  
Utilities Req’d: 120V/1PH; 6.4A; 1/4" CW; 3/4" IW

See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer's standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Unit shall be all stainless steel construction.  
3. Coordinate the connection between ice maker and Item #\_\_\_\_\_, Water Filtration System.  
4. Ice maker shall produce small cubes 7/8" by 7/8" by 3/8" thick.  
5. Provide KPUFM30 Prodigy® Kit, undercounter floor mount for CU3030.  
6. Must meet all applicable governmental, and local laws, rules, regulations, and codes.