ITEM #: UNDERCOUNTER ICE MACHINE  
Quantity: One (1)  
Manufacturer: Scotsman  
Model No.: UF424A-1  
Pertinent Data: 310 Pounds ARI Capacity  
Utilities Req’d: 120V/1PH,15.0A; 3/8" CW, 3/4" IW  
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Unit shall be all stainless steel construction.  
3. Coordinate with Plumbing Contractor on the connection between ice maker and Item #\_\_\_\_\_, Water Filtration System.  
4. Ice Machine shall be all inclusive and come with an 80 Lb capacity Ice Bin.  
5. Ice maker shall produce flake ice.  
6. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.