ITEM #: UNDERCOUNTER REFRIGERATOR  
Quantity: One (1)  
Manufacturer: Hoshizaki  
Model No.: UR27B  
Pertinent Data: Self-Contained  
Utilities Req’d: 120V/1PH; 2.7A  
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Provide with door hinged left as shown on drawings.  
4. Provide unit with one adjustable shelf.  
5. Provide door lock on the door section.  
6. Provide exterior thermometer.  
7. Provide stainless steel exterior.  
8. Provide four (4) 2-1/4" casters, two (2) with brakes.  
9. Coordinate that the unit will fit under Item #\_\_\_\_\_\_\_\_\_  
10. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.