ITEM #: VENTLESS EXHAUST SYSTEM  
Quantity: One (1)  
Manufacturer: Blodgett  
Model No.: VLF “Hoodini”  
Pertinent Data: Part of Item #\_\_\_\_\_\_\_\_\_  
Utilities Req’d: ---

See plans for location and placement of item with reference to adjoining equipment.   
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Provide a Hoodini convection hood to collect and filters exhaust from the oven cavities.  
3. Unit to connects directly to Item #\_\_\_\_\_, Double Convection Oven, via duct work.  
4. Unit to be wired into Item #\_\_\_\_, Double Convection Oven.  
5. Provide one (1) hood filter.  
6. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.