ITEM #: WATER & ICE DISPENSER  
Quantity: One (1)  
Manufacturer: Scotsman  
Model No.: MDT5N40  
Pertinent Data: 455 lbs ARI Capacity  
Utilities Req’d: 120V/1PH; 19.3A; 3/8" CW; 3/4" IW  
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Size and configuration as shown on drawings.  
3. Provide touch free actuation for convenient one handed operation.  
4. Provide easily removable plastic chute.  
5. Coordinate installation onto Item #\_\_\_\_\_, Beverage Counter.  
6. Must meet all applicable governmental, and local laws, rules, regulations, and codes.